## Cost Summary
Improving access to clean drinking water for the urban poor in Peshawar, Pakistan (LOT 1 CIVIL WORK)
Activity - 1.1.4 Clean drinking water supply systems developed/ rehabilitated in target location along with business models
Cost Summary for Ali colony Piraghaib Baba kachi Abadi-Changar Abad, Dalazak Road Peshawar, Near Railway Station
Sr # | Activity/work | Cost in PKR
1 | Construction of room for Filtration Plant | 0
4 | Grand Total | 0
5 | Cost for 1 Unit Complete | 0
6 | Cost for 2 Units | 0

## Abstract of Cost for 10' x 10 c
Abstract of Cost for Ali colony Piraghaib Baba kachi Abadi-Changar Abad, Dalazak Road Peshawar, Near Railway Station Chanmber (10' X 10') (LOT 1 CIVIL WORK)
SR # | Item | Description | Unit | Quantity | Unit Rate | Total
1 | Excavation | Excavation in all types of Soil i.e. Sandy, Clayey, Rocky, Hard, average Soft, Wet or dry complete in all aspects and/or as directed by the Project Engineer | CFT | 427.5 |  | 0
2 | 3" thick Brick Ballast | Brick ballast of 1st class bricks properly compacted and filled with sand in the foundation after excavation | CFT | 119.475 |  | 0
3 | 3" thick PCC (1:4:8) in Foundation | PCC (Ratio 1:4:8) complete in all aspects and/or as directed by the Project Engineer | CFT | 30.375 |  | 0
4 | Brick masonry | The rate of masonary includes Supplying, placing (CS 1:4), soaking in water (1st class bricks with compressive strength 2000 PSI), workmanship, mortar, placing the frog on top side scaffolds,Curing, fixing and all other required materials, equipment and tools to complete the work according to specifications and/or as directed by the Project Engineer | CFT | 569.4375 |  | 0
5 | Backfilling | Providing & laying backfilling of soil within layers of 6 inches, along with its compaction using water to make soil wet before compaction till dpc level | CFT | 308 |  | 0
6 | DPC | Providing & laying P.C.C. 1:2:4 (1 Sulphate Resistant Cement, 2 Sand [free from salt & mud] and 4 Crushed Stone 1/2" as coarse aggregate) including leveling, vibrating,compacting & curing, including form-work and polythene sheet followed by 2 coats of hot bichumen on DPC, complete as per drawings and specification and/or as directed by the Project Engineer | SFT | 38.25 |  | 0
7 | Mosaic flooring | 1½"(40 mm) thick conglomerate mosaic flooring, consisting of ½ " mosaic topping of one part of cement and marble powder in the ratio of 3:1 and two parts of marble chips, laid over 1"(25 mm) thick floor of 1:2:4 cement concrete provided in room floor, ramp top, and under drain grill in washing area including rubbing,grinding complete with finishing using grey cement complete in all aspects and/or as directed by the Project Engineer | SFT | 141 |  | 0
8 | PCC 1:2:4 in Plinth Protection | Providing & laying P.C.C. 1:2:4 (1 Cement, 2 Sand [free from salt & mud] and 4 Crushed Stone 1/2" as coarse aggregate) including leveling, vibrating,compacting & curing, including form-work if any, complete as per drawings and specification and/or as directed by the Project Engineer | CFT | 29.5 |  | 0
9 | RCC (1:2:4) in Roof Slab with 2' Projections on all sides | Providing & laying P.C.C. 1:2:4 (1 Cement, 2 Sand [free from salt & mud] and 4 Crushed Stone 1/2" as coarse aggregate) including leveling, vibrating,compacting & curing, including form-work if any, complete as per drawings and specification and/or as directed by the Project Engineer | CFT | 156.9375 |  | 0
10 | RCC (1:2:4) in room walls lintel 9" thick | Providing & laying R.C.C. 1:2:4 (1 Cement, 2 Sand [free from salt & mud] and 4 Crushed Stone 1/2" as coarse aggregate) including leveling, vibrating,compacting & curing, including form-work if any, complete as per drawings and specification and/or as directed by the Project Engineer | CFT | 23.3438 |  | 0
11 | RCC (1:2:4) in room and washing area floor | Providing & laying R.C.C. 1:2:4 (1 Cement, 2 Sand [free from salt & mud] and 4 Crushed Stone 1/2" as coarse aggregate) including leveling, vibrating,compacting & curing, including form-work if any, complete as per drawings and specification and/or as directed by the Project Engineer | CFT | 36.875 |  | 0
12 | RCC (1:2:4) in Ramp | Providing & laying R.C.C. 1:2:4 (1 Cement, 2 Sand [free from salt & mud] and 4 Crushed Stone 1/2" as coarse aggregate) including leveling, vibrating,compacting & curing, including form-work if any, complete as per drawings and specification and/or as directed by the Project Engineer | CFT | 15 |  | 0
13 | RCC (1:2:4) in Arial Beam on Brick Columns | Providing & laying R.C.C. 1:2:4 (1 Cement, 2 Sand [free from salt & mud] and 4 Crushed Stone 1/2" as coarse aggregate) including leveling, vibrating,compacting & curing, including form-work if any, complete as per drawings and specification and/or as directed by the Project Engineer | CFT | 6.4688 |  | 0
14 | Plaster (Internal) | Plastering 1/2" thickness with 1:4 concrete mix (1 cement, 4 sand) on all internal and external surfaces of all sides complete as per drawing and specification and/or as directed by the Project Engineer | SFT | 560 |  | 0
15 | Plaster (External) | Plastering 1/2" thickness with CS 1:4 concrete mix (1 cement, 4 sand) on all internal and external surfaces of all sides complete as per drawing and specification and/or as directed by the Project Engineer | SFT | 968 |  | 0
16 | Ceramic tiles | Ceramic tiles of size 24" X 24" OR 16'' × 16'' or 12" x 12" × 3/8'' of Master/Times/Shabbir with bond for tile fixing, over ¾" (20 mm) thick tile bond, 1:2 including tiles skirting of 4" on all walls of the room, cement washing and filling joints complete in all aspects and/or as directed by the Project Engineer | SFT | 168.95 |  | 0
17 | Roofing Treatement | Providing and laying single layer of sharp edged good quality Brick tiles having 9''*4.5''*1'' with grouting in CS 1:4 laid over the roof for rain water drainage in a slope of 2" on the roof also applying 2 coat of hot bichumen over plastic sheet complete in all aspects and/or as directed by the Project Engineer | SFT | 150 |  | 0
18 | Door | Steel Door including chowkat double leaf size( 4'x7' )18 gauge open inside and fixed in angle iron frame of 2.5"x2.5"x1.5/8", having smooth finishing and easy to open and close provided with double bracing on both sides also including 3 installation points along each side with manual lock system on both side and painting with enamle paints of approved brands likeDulux/Berger/Master/brighto/diamond complete in all aspects and/or as directed by the Project Engineer | SFT | 28 |  | 0
19 | Window | Providing and fixing of steel windowincluding chowkat double leaf(4'x 4') openable glazed comprising of1/1/2"x1/5/8"x1/8" beams section for frame 3/4x1x1/8 Z section for leaves 1x1x1/8 T-sections with G.I wire guage 18 Or 20 and guage size 3mmx3mm and complete iron leaves with mesh on in front complete having a column in the centre of both leaves for opening, lock and support. Painting 3 coats with enamle paints of approved brands like Dulux/Berger/Master/brighto/diamond complete in all aspects and/or as directed by the Project Engineer | SFT | 16 |  | 0
20 | Vent | Providing and fixing of steel vent fixed glazed comprising of1/1/2"x1/5/8"x1/8" beams section for frame 1x1x1/8 T-sections with G.I wire guaze 18 Or 20 and guage size 3mmx3mm and complete iron leave. Painting 3 coats with enamle paints of approved brands like Dulux/Berger/Master/brighto/diamond complete in all aspects and/or as directed by the Project Engineer | SFT | 2 |  | 0
21 | Internal Paint with Dismtemper | Distempering with approved brand like Dulux/Nippon/Berger/Mobee to give an even shade. The cost includes scraping, sand paper with rubbing, smoothing the surface along with three coats over primer and wall putty of approved quality like Berger/Dulux/Nippon/Mobee complete in all aspects and/or as directed by the Project Engineer | SFT | 496 |  | 0
22 | Paint (External weather sheild) | Providing and applying weather shield paint of approved brands (Brighto, Master, Berger, Nippon etc). The cost includes scraping, sand paper with rubbing, smothing the surface along with use of primer 3 coats and water proof wall putty complete in all aspects and/or as directed by the Project Engineer | SFT | 657 |  | 0
23 | Steel Reinforcement | Fabrication of mild steel Grade-60 reinforcement for cement concrete used in roof, projections, lintel, plinth protection, ramp, projection and floor i/c cutting, bending and laying in position i/c cost of binding wire, shuttering and removal of rust from bars. (Deformed) complete in all aspects and/or as directed by the Project Engineer | Kg | 674.9497 |  | 0
24 | Visibility | P/F of 4'X3' board of steel guage 20, with MS pipe frame dia 1.5" SWG 18 and standing poles of same pipe and gagude, welded iron pieces 6 inches each at bottom of pole for anchoring in concrete and painting 2 coats of approved brands like Berger/Brighto/Master/Nippon and excavation for pipe and pouring PCC with ratio of 1:2:4 (Cement:sand:mortor). Height of the sign board is 8' along with 1' embedded inside the earth with concrete complete in all aspects and/or as directed by Project Engineer | Nos | 1 |  | 0
25 | Floor drain grill | 8" wide steel grill of guage 1/8" (1 sutar) in angled iron frame 1"x1" of guage 1/8" (1 sutar), painted with emulsion placed on the floor in the water collection area for the drainage purpose, it should be side pib=vot with angle iron frame, means openable from side. There will be two 5' pieces of grill in washing area openable separately for cleaning purpose | SFT | 6.7 |  | 0
26 | Side rail on the ramp | MS Iron railing of guage 16 including 2 coats of emulsion paint, with 3' heigh handrail on both sides of the ramp, Hand rails have dia of 2 inches, below hand rails there are 2 mid rails having dia of 1 inch each, all these rails are supported by Newel post of dia 3 inch and distance between each Newel post is 4'-6", each Newel post will be installed 8 to 10 inches below the ramp and properly covered with concrete ratio (1:2:4) as directed by the Project Engineer | RFT | 20 |  | 0
27 | Front Grill | Providing and fixing of Iron grill of Barfi type guage 18 to 20 SWG MS iron square pipe 1/2" X 1/2" Or 3/4" x 3/4" and 2"x1" Around pipe size 9'-6" x 7' as per approved design, having 2 double leaf 3'x7' ft doors on both ends with 2 hinged pipes of 4 inches on each side of the sheet for fixing in the column also preparing surface and painting 3 coats with enamle paints of approved brands like Dulux/Berger/Master/brighto/diamond and concrete P.C.C (1:2:4) to fix the hindges inside the columns as direcred by the Project Engineer | SFT | 66.5 |  | 0
| Total |  |  |  |  | 0
Plumbing Items
SR # | Item | Description | Unit | Quantity | Unit Rate | Total
1 | PPRC piping | Providing and Fixing of polydex high pressure PPR (green including testing ect complete 25 mm(including all special etc) | RFT | 40 |  | 0
2 | PPRC piping | Providing and Fixing of poly dex high pressure PPR(green) including testing ect complete 20 mm(including all special)etc | Rft | 60 |  | 0
29 | Automatic Float Switch System | Providing and connecting automatic float switch system Filtration Plant with water tank including all accessories/ wire/ float to prevent overflow of the water from tank | Nos | 1 |  | 0
30 | Water tanks | P/F 500 Gallon Capacity 5 layers LDPE food grade water storage tanks for raw and product water. The tanks must be from an approved brand as directed by the Project Engineer | Nos | 2 |  | 0
31 | Water tanks Insulation around 500 Gallon water tank | 1" thick thermophoresheet wrapped with duct tape and covering with PVC plastic cover | Sft | 2 |  | 0
32 | Tap stand | Providing, fixing in wall and complete fittings of tap stand made with GI pipe (IIL-L), dia 2" and length 10 feet for tap stand with 05 Nos welded sockets (HE) dia 1/2" for taps and fixing 05 Nos SS taps dia 1/2" fixed in sockets on outer side. The pipe is provided with reducer sockets of 2"X1" on one end and stoper of dia 2" on the other, job included provision and fixing the tap stand including with CP Nozels 8 inches fixed between socket and taps complete fittings and fixing on site as per engineer's direction. Tap stand must be connected with product water tanks discharge | Job | 1 |  | 0
33 | PPRC piping | PVC food grade pipes of good quality PN-20 like Popular/Master or euivalent for water distribution including from submersible pump to storage tanks, all PPRC fittings are conceilied inside the walls before plastering
34 | 41a | (50 mm dia) PN-10 2.4mm Wall Thickness : 0.472 Kg/meter Weight) | RFT | 30 |  | 0
35 | Gate valve | Providing and fixing gun metal peet/gate valve 50 mm dia (screwed): | Nos | 2 |  | 0
36 | PVC pipe (Rain harvesting) | Providing and laying PVC pipe of 4" dia BSS class-B SCH-26/SDR-41 wall thickness 1/8" complete in all aspects and/or as directed by the Project Engineer | RFT | 26 |  | 0
37 | PVC pipe for drainage | Providing and laying PVC pipe of 4" dia BSS class-B SCH-26/SDR-41 wall thickness 1/8" complete in all aspects and/or as directed by the Project Engineer | RFT | 26 |  | 0
| Total |  |  |  |  | 0
Electric Installation
SR # | Item | Description | Unit | Quantity | Unit Rate | Total
1 | Conduit PVC fitting | Providing and fixing PVC Pipe for electric wiring recessed in wall complete in all aspects, all fittings are conceiled inside the walls before plastering
| 47a | 3/4'' dia | RFT | 50 |  | 0
| 47b | 1'' dia | RFT | 50 |  | 0
2 | Copper conductor cable | Providing and fixing Single Core PVC Insulated Copper Conductor Cable of brands ZMS/Pakistan Cables/ green cables/ Copper gate complete in all aspects
| 48a | 3 /0.029" | RFT | 400 |  | 0
| 48b | 7 /0.029" | RFT | 250 |  | 0
3 | PVC 4 core | Providing and fixing PVC insulated, PVC sheathed 4 core of 7 /0.064" complete in all aspects | RFT | 50 |  | 0
4 |  | Supply/Erection of
| 50a | Good quality witches 5 Amp | Nos | 5 |  | 0
| 50b | 3 pin, 5 AMP wall socket | Nos | 5 |  | 0
| 50c | Power plug of 10 to 15 Amp | Nos | 2 |  | 0
| 50d | Ceiling rose | Nos | 2 |  | 0
| 50e | Button holder | Nos | 5 |  | 0
5 | LED blub and buld holders | Supply And Installation of LED Bulb 18 watt of approved brand as directed by the Project Engineer | Nos | 5 |  | 0
6 | Switch board | China switch board of good quality with 5 buttons and including fan capacitor and 3 insurting plugs | Nos | 1 |  | 0
7 | Main DB Complete in all respect including breakers | Supply, installation, connecting, testing and commissioning of wall/recessed mounting typical DB for flat should be factory assembled ready wired and complete (comprising of incoming & outgoing breaker rupturing capacity 10 KA Terrasaki make) Incoming: 1 by 30 A.T.P mcb with ph. Indications Outgoing One set: 15 by 10 Amps, 6 by 20 Amps single pole 250 volt moulded case miniature ciruit breaker (mcb) 7 No per phase coupled with one 60 Amps T.P mcb this items includes completed circut breakers 15 to 60 amp Or others if needed on side ccomplete in all respet as per direction of engineer incharge | Set | 1 |  | 0
| Total |  |  |  |  | 0
| Total Cost of Construction Items and Labour |  |  |  |  | 0